## Slide 1
Framework

## Slide 2: Instruments
  Introduction of new structured detector syntax in IDF
    http://docs.mantidproject.org/nightly/concepts/InstrumentDefinitionFile.html#creating-structured-irregular-geometry-detectors
  HollowCylinder added as “primitive” shape
    http://docs.mantidproject.org/nightly/concepts/HowToDefineGeometricShape.html#howtodefinegeometricshape
    Required for absorption corrections

## Slide 3: Script Repository
Fixed crash on Mac OSX when trying to retrieve proxy information at RAL
  ISIS Mac users: Please remove “proxy.info=“ & “proxy.port=” lines from /Users/LOGIN/.mantid/Mantid.user.properties file
Fixed bug that caused uploads to fail with some incorrectly configured proxy servers
The default download timeout has been increased from 5s to 30s to avoid hitting the timeout when tying to download some larger files

## Slide 4: Algorithms
Notable bug fixes:
  SofQW: Fixed bug with normalisation found when using algorithm for Reflectometry
  Several algorithms: Fix crashes when given a workspace group
Full list of changes to algorithms:
  http://docs.mantidproject.org/nightly/release/v3.7.1/framework.html#algorithms

## Slide 5: Absorption Corrections
New functions for calculating corrections due to absorption
  Monte Carlo algorithm -> used for generic shape corrections
  allows definition of container plus other components in beam
  allows definition of beam “size” (currently rectangular slit)
Container definitions to be implemented in a collection of known containers alongside instrument definitions
  avoids repeated definition of standard cans etc in scripts
Documentation for workflow:
  http://docs.mantidproject.org/nightly/algorithms/MonteCarloAbsorption-v1.html

## Slide 6: VATES
PlotMD now plots points at bin centres for MDEventWorkspaces as well as MDHistoWorkspaces.
SliceMD now reports the correct number of events in the output workspace.
The size of densely populated, multidimensional MDEventWorkspace slices produced by SliceMD has been greatly reduced by using more sensible box splitting parameters.
MD slicing algorithms now correctly detect units in input workspace and set units in output workspace as directed with the BasisVector properties.
Slicing algorithms (SliceMD and BinMD) do not add masked data to their output workspaces.
MergeMD now does not add masked events to its output workspace.

## Slide 7: VATES
ConvertToMD, CreateMD and AccumulateMD now have the option to produce workspaces with a file-backend.
Dimension labelling in MD slicing algorithms is consistent with ConvertToMD.
The box structure of workspaces created with CutMD using NoPix=false now matches that specified by the PnBins properties. Additional box splitting is only allowed if MaxRecursionDepth is set to higher than its default of 1.
XorMD, OrMD and AndMD treat masked bins as zero.
A Gaussian smoothing option has been added to SmoothMD. Note, this currently only supports specifying widths for the smoothing function in units of pixels along the dimensions of the workspace.
LoadMD has an option to skip loading workspace history. This is useful for workspaces created form large number of files, treated separately.

## Slide 8: Python
The Atom class, which stores the cross-sections, relative atomic masses, and other information for all elements and isotopes is now accessible from Python.
The Material class has two new Python methods: chemicalFormula returns a tuple of Atom objects corresponding to the atoms in the compound, and their abundances; relativeMolecularMass returns the relative formula unit mass in atomic mass units.
The plot() function of mantidplot.pyplot now supports empty marker (marker=None).
V3D is now iterable in Python, which makes it possible to easily construct numpy arrays like this np.array(V3D(1,2, 3)).
Two new attributes available on all python algorithms startProgress and endProgress. Added to an algorithm call, it will allow for passing control of the progress bar to child algorithms.