## Slide 1
SANS

## Slide 2: Dynamic IDF Selection
SANS Instrument
LOQ: LOQ_Definition_20020226-.xml
LARMOR: LARMOR_Definition.xml
SANS2D: SANS2D_Definition.xml
SANS2D TUBES: SANS2D_Definition_Tubes.xml
IDF selected at start-up
Discrepancy once ws is loaded
The issue:
Now:
SANS Instrument IDF is reset if there is a mismatch between the workspace and the SANS Instrument
Diagnostic IDF indicator on “Run” tab indicates which IDF is being used for the instrument
LARMOR_Definition_19000000-20150317.xml
LARMOR_Definition_8tubes.xml
“Solution” around this issue!
LOQ_Definition_20010430-20020226.xml
LOQ_Definition_20020226-.xml
LOQ_Definition_20121016-.xml
…

## Slide 3: Support for NXcanSAS Format
SaveNXcanSAS
LoadNXcanSAS
Similar interface to SaveCanSAS1D
Handles 2D reduction workspaces
Saves in HDF5 format instead of xml
Optional loading of transmission workspaces
Works best with reduction workspaces which were saved with SaveNXcanSAS
Loaded as point workspaces