## Sheet1
| Diffraction | Single Crystal | Engineering Diffraction
Absorption & Multiple Scattering. Look at Alan's code (all) | 1 | 1 | 3
Calibration | 1 | 1 | 1
Usability of fitting: | 2 |  | 2
* Single peak - Initial guesses based on instrument in non-TOF units (all)
* Improved algorithms for different dspacing range, e.g. different shapes for different banks
* Look at things done on e.g. SXD
* Defined outputs based on instrument/technique
* Batch fitting with functions, consider interface to GSAS (Pascal)
Macro Molecular - Profile fitting (Leighton show stopper) |  | 2
Work in detector coordinates (Pascal/Leighton) |  | 2
Peak Integration for Non-Sphere shapes (all) |  | 3
Non-rectangular detector geometry for calibration |  | 1
Calibration from SCDCalibratePanels - Output is clunky (Leighton) |  | 1
Documentation/Consistency for input parameters e.g. workspace index vs spectrum number (Ron) | 3 | 3 | 2
Live data roll out acrosss more instruments (Kate) | sms 1: isisi 3 | sms 1: isisi 3 | sms 1: isisi 3
Improved integration with 3rd party tools (Kate) | 2 | 2 | 1
* Some things might just have to be ported. Emphasis on speed & improvements (Alan)
Wavelength normalization (requires space group information) (scd) (Leighton). Not done on SXD |  | 10
* Scale between orientations/detectors
* LAUENORM software is used but very old and may become unusable at some point
* Anvred correction does basic wavelength correction ~small molecules but not for macro molecules
* Does spherical but needs general polyhedra (ANVRED3/GAUSSIAN3.1 do this) for absorption correction
Space Group awareness (scd) | done | done | 2
MD Normalization Integration to UI |  | 1
Vates Usability Improvements (scd, Pascal) |  | 2
* Python API improvements (scd)
* Synchronization of plots |  | 0
* Overlaying HKL and Q |  | 0
Non-orthogonal axes in Slice Viewer. Done in SXD2001 (general, Pascal) |  | 1
Waterfall plots for time-sliced data - usability and education | 2 |  | 2
Total Scattering: | -2
* Algorithm to run Gudrun and import data back in. Long term to give GUI (Helen)
* SNS Event-based PDFGetN functionality in Mantid - incorporating quick options (Kate)
* Careful about different language used for the same thing
* Inelastic/incoherent corrections (Kate/Helen)
* Cosmetic corrections. Things that make the FFT look better (Helen)
Non-detector components in instrument geometry and linking to information from a run (Kate) | 3 | 3 | 3
* tracking sample environment
Masking (all)
* A few more automatic mechanisms like masking by threshold etc | 3 | 3 | 3
Multiple UBs (scd) |  | 1
Engineering:
* Inversed pole figures |  |  | 1
* Call MAUD from Mantid |  |  | 3
* Call GSAS repeatedly | 3 |  | 1
Planning and data quality tools (all) |  | 2
* chopper setting tool