## Slide 1: Indirect Requirements

## Slide 2: User Documentation
More science-based - potentially collaborate with instrument scientists
Easy to find
Keep it updated
Documentation is built nightly but users still rely on it for old versions of MANTID

## Slide 3: Calibration
Workspace does allow for the fact that E_fixed is different for each spectrum
Update detector table
Reduce file using a custom table workspace rather than instrument file

## Slide 4: Absorption Corrections
Updated to use MonteCarlo method
Paalman pings to be updated
Sample geometry to be updated
Currently targeted to Indirect – separation of algorithms to allow other techniques to use these algs

## Slide 5: Collaboration
Can use for example direct data in indirect algorithms
Section on mantid forum for facility updates

## Slide 6: MSG Specific
VESUVIO harmonisation with other ISIS Indirect instruments
VESUVIO code parallelisation
High Throughput QENS – “QuickRun”
- new interface in MVP pattern
ABINS
Improvements in OSIRIS diffraction
- Migrating “powder script” to OSIRIS

## Slide 7: Constraint fitting
Tie parameters from user defined functions

## Slide 8: MANTID 4.0
Automatically testing GUIs
We already have a naming convention  - Alias – local? - Keywords
Stability
Publication quality plotting
Ability to generate python files from interface