## Slide 1: How I use Mantid - and how I would like to use it
Doug Abernathy
ARCS Lead Instrument Scientist
Spallation Neutron Source
Oak Ridge National Laboratory
Mantid Users Workshop
June 12 - 13, 2017
Abingdon, UK

## Slide 2: How I use Mantid
Data reduction at ARCS
  Autoreduction
  XML/python user controlled (legacy)
Instrument investigations using MantidPlot
  User issues (history)
  Detectors
Adding functionality
  Fit function: Ikeda-Carpenter monitor
  Algorithm: GetPhononDOS (legacy)
… and how I’d like to use it
Science directed, community driven
  Visualization for 4-D S(Q,E) using event data, easy model inclusion, resolution convolution
  Powder inelastic with community accepted corrections, resolution, phonon DOS

## Slide 3: ARCS reduction
Autoreduction: monitor.sns.gov
Legacy XML controlled script (replaced DANSE methods with Mantid functions)
Extension: multi-run reduction

## Slide 4: Investigations using MantidPlot
Example: detector efficiencies
Use history and python scripts to help users understand possible problems, find fixes (which vanadium run, combining data with different masks, etc.)

## Slide 5: Adding functionality
Fitting: ICmonitor.py
Ikeda-Carpenter source term used to fit downstream monitor data
Algorithm: GetPhononDOS (J. Niedziela, Fultz group)

## Slide 6
… and how I’d like to use it
Mantid as a base for science-directed, community-driven analysis software, e.g.
Visualization for 4-D S(Q,E) using event data, easy model inclusion, resolution convolution
  Need to demonstrate current capabilities are covered and some additional features provided (speed, resolution corrections, model fitting)
Powder inelastic with community accepted corrections, resolution, phonon DOS
  Incorporate best practices for powder corrections (absorption, multiple scattering, multiphonon scattering, etc.) with documentation
  Use multiple incident energy data from a single scatterer (resolution corrections)
  Compare to other calculations, e.g. DFT codes (e.g. O’Climax)
What can we learn from other community projects (e.g. PDFGui)